## Ark1
| Timeline: | During the insulation of the pressure mat.
| Date: | 2019-03-14 | [10 empty] | R1: | 47000
| Recording Voltage of sensor with no load (mat with top surface flat on table) | [7 empty] | Equivalent Resistance with 47 KOhm |  |  |  | Vin: | 5
| A | B | C | D | E | F | G | H |  | A | B | C | D | E | F | G | H
1 | [8 empty] | 1 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | bar: Recording Voltage of sensor with no load (mat with top surface flat on table) A to Recording Voltage of sensor with no load (mat with top surface flat on table) H
2 | [8 empty] | 2 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | bar: Recording Voltage of sensor with no load (mat with top surface flat on table) A to Recording Voltage of sensor with no load (mat with top surface flat on table) H
3 | BAD (works but is not reliable) | G | G | G | G | G | G | G | 3 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
4 | BAD | G | G | G (works only over small range). | G | G | G | G | 4 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
5 | [8 empty] | 5 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | bar: Recording Voltage of sensor with no load (mat with top surface flat on table) A to Recording Voltage of sensor with no load (mat with top surface flat on table) H
6 | [8 empty] | 6 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | bar: Recording Voltage of sensor with no load (mat with top surface flat on table) A to Recording Voltage of sensor with no load (mat with top surface flat on table) H
7 | G | G | G | G | G (might be a bit worse) | G | G | G | 7 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
8 | [8 empty] | 8 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | bar: Recording Voltage of sensor with no load (mat with top surface flat on table) A to Recording Voltage of sensor with no load (mat with top surface flat on table) H
9 | BAD (was fine originally, but after it was pressed down, it was no longer consistent). | Good (only over small range). | G | G | G | G | G | G | 9 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!
10 | [8 empty] | 10 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | bar: Recording Voltage of sensor with no load (mat with top surface flat on table) A to Recording Voltage of sensor with no load (mat with top surface flat on table) H
11 | [8 empty] | 11 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | bar: Recording Voltage of sensor with no load (mat with top surface flat on table) A to Recording Voltage of sensor with no load (mat with top surface flat on table) H
12 | [8 empty] | 12 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | bar: Recording Voltage of sensor with no load (mat with top surface flat on table) A to Recording Voltage of sensor with no load (mat with top surface flat on table) H
13 | G | G | G (starts at higher voltage) | G | G | G | G | G | 13 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE! | #VALUE!